Ordinance #4-09

An ordinance of the City of Mt. Lake

Establishing Section 9.42

Regulating Swimming Pools

The City Council of Mt. Lake ordains that Section 9.42 be adopted to read as follows:

- SECTION 9.42 SWIMMING POOLS

- Subdivision 1.  Definitions.

- Permanent Pool

Any pool or tub, in-ground or above ground, that occupies a yard on a year round basis, is designed to be used for recreational purposes such as swimming or bathing, is not located within a completely enclosed building and contains or is normally capable of containing water to a depth at any point of 24 inches or greater.  No such swimming pool shall be allowed in any district, except as an accessory use and unless it complies with the conditions and requirements set out in this section.   A permanent pool shall require a building permit.

- Temporary Pool

Any pool or tub, that occupies a yard less than six months per year, is designed to be used for recreational purposes such as swimming or bathing, is not located within a completely enclosed building and contains or is normally capable of containing water to a depth at any point of 24 inches or greater.  No such swimming pool shall be allowed in any district, except as an accessory use and unless it complies with the conditions and requirements set out in this section.  A temporary pool shall not require a building permit.

- Wading pool

Any pool or tub, either temporary or permanent, designed to be used for recreational purposes such as wading that is not located within a completely enclosed building and contains or is normally capable of containing water to a depth at any point of 24 inches or less.

Subdivision 2.  Temporary and Permanent Pool Requirements.

- Setbacks: Permanent and temporary pools and their adjoining/attached decks and fences shall not be located closer than 10 feet to any property line.  Pumps and filters shall not be located within 20 feet of any property line.  No permanent or temporary pool shall be located in any easement.

- Release of water:  Back-flush water or water from pools shall be directed onto the owner’s property or onto approved public drainage ways and shall not be drained onto adjacent private land.  Drainage onto public streets or other public drainage ways shall require written approval of the public works director.

- Lighting:  All swimming pool lighting shall be directed toward the pool and not toward the adjacent property.

- Distance from Utilities:  All swimming pools, temporary and permanent, shall not be located within ten feet of underground or above-ground utility lines.

- Fencing:

  - Permanent pools.  All permanent pools shall require a fence that is a minimum of four feet high and includes lockable gates.  The fence shall be installed prior to any water being placed in the pool.  Fencing shall be chain link, vertical pickets or solid.  Spaces between the bottom of the fence and the ground or between the pickets shall not exceed 4 inches.  Gates shall have self-closing and self-latching devices at a height and location so as to be inaccessible to children.

  - Temporary pools.  Temporary pools are exempt from the fencing requirements provided that:

- any ladder or other means of entry into the temporary pool are detached and placed so that no child can gain entry into the pool without the owner’s consent

- or the ladder or steps of a pool which sides cannot be climbed are surrounded by a barrier that prevents a child from gaining entrance to the pool.  Temporary pools may also be covered with a child resistant cover when it is not in use.

Passed and approved this 2nd day of March, 2009.

___________________________________

Mayor

ATTEST:

_____________________________________

Administrator/Clerk

Published in the Mountain Lake Observer on _____________________________, 2009.